## Slide 1
ED t
Optimal scheduling forecast algorithm
Production forecast
Demand forecast
Prices forecast
Battery control algorithm
Real Time production
Real Time demand
Real Time price
Possible power flow
Epv t
Ebat t

## Slide 2
Time step t
Yes
Export PPV(t) -Demand (t) to grid
Charge with Pbat = min (Pbat max, PPV(t) -Demand (t))
No
Yes
No
Import PPV(t) -Demand (t) to grid
Discharge with Pbat = min (Pbat max, Demand (t) - PPV(t))
Yes
No
Is Battery empty?
Is PPV(t) > Demand (t) ?
Is Battery full?

## Slide 4
Forecasting Algorithms
Production forecast
Demand forecast
Prices forecast
Battery Control Algorithms
Optimization-based w/o lifespan consideration
Heuristic-based
Optimization-based with lifespan consideration
Real Time production
Real Time demand
Real Time price
Production forecast
Demand forecast
Prices forecast
Forecasting Algorithms
ED,t
Epv,t
Ebat,t
Possible power flow

## Slide 5
LTR

## Slide 6
Actuator
I2
I1
A
Rx
A0
VS-10BQ015
BZT52H-B3V3
BS170
SFH6206
Q1 : 2N7002
3.3k
12k - 22k
10k
9.1k
1k
270
1.5F
5.5V
Power Supply
Demodulation
Communication
& Control
U1 :
PIC
12F1840
U2:
LoRa or ESP
Node
Double coils Latching Relay module
MCP
1825s33
Set
Unset
C1
D1
V1
U1 :
PIC
12F1840

## Slide 7
Main power (LTR data)
Electric Stove disaggregation
Water heater disaggregation
Oct. 15 00:00
Oct. 15 06:00
Oct. 15 12:00
Oct. 15 18:00
Oct. 16 00:00
4.5
3
1.5
0
Power (kW)

## Slide 9
1-3
VPV
VL
Vg
iPV
VPV
PWMpv
MPPT
Control Loop in dq frame
Ptarget
Qtarget
dq
abc
dq
abc
dq
abc
PLL
Reference Current Generator
id iq
Vgd Vgq
Id target iq target
mPWM dq
mPWM abc
PWMinv
PWMinv
PV Panels
Optional DC Converter
Inverter
Filter + Coupling
Xf
r
Grid
4-6

## Slide 10
Vg
iPV
VPV
PWMpv
MPPT
Inverter & Reactive Power Control
PV Panels
DC Converter
Single Phase Inverter
Filter + Coupling
(+ Transformer)
Xf
r
Grid
VPV
VL
Vg
PWMinv
ig
Qref
(a)
(b)
VL